## Sheet1
name | host | transport | port | protocol | communicationSettings | enabled
device_generic | 0.0.0.0 | TCP | 3500 | GENERIC | {"rx":[{"rx_id":"modbus-rtu-uid-1-fc-3","length":8,"fields":[{"field_id":"unit_id","data_type":"UI8","required_value":1},{"field_id":"fc","data_type":"UI8","required_value":3},{"field_id":"register","data_type":"UI16AB"},{"field_id":"count","data_type":"UI16AB"},{"field_id":"crc16","data_type":"SI16AB"}]}],"tx":[{"tx_id":"modbus-rtu-uid-1-fc-3","fields":[{"field_id":"unit_id","field_type":"REFERENCE","data_type":"UI8","value":"@unit_id"},{"field_id":"fc","field_type":"REFERENCE","data_type":"UI8","value":"@fc"},{"field_id":"byte_count","field_type":"REFERENCE","data_type":"UI8","value":"@count*2"},{"field_id":"registers","field_type":"ITERATION","data_type":"SI16AB","iteration_count":"@count"},{"field_id":"crc","field_type":"CRC16","data_type":"SI16AB","value":0}]}]} | 1
device_modbus | 0.0.0.0 | TCP | 502 | MODBUS | {"unitId":"1","packetType":"0","registers":"1000"} | 1
device_xgt | 0.0.0.0 | TCP | 4001 | XGT_PLC | {"cpuId":"1","maxBlockSize":"1400","registers":"3000"} | 1
device_rcu | 0.0.0.0 | TCP | 1470 | DAEYUN_RCU | {"rx":[{"rx_id":"modbus-rtu-uid-1-fc-3","length":8,"fields":[{"field_id":"unit_id","data_type":"UI8","required_value":1},{"field_id":"fc","data_type":"UI8","required_value":3},{"field_id":"register","data_type":"UI16AB"},{"field_id":"count","data_type":"UI16AB"},{"field_id":"crc16","data_type":"SI16AB"}]}],"tx":[{"tx_id":"modbus-rtu-uid-1-fc-3","fields":[{"field_id":"unit_id","field_type":"REFERENCE","data_type":"UI8","value":"@unit_id"},{"field_id":"fc","field_type":"REFERENCE","data_type":"UI8","value":"@fc"},{"field_id":"byte_count","field_type":"REFERENCE","data_type":"UI8","value":"@count*2"},{"field_id":"registers","field_type":"ITERATION","data_type":"SI16AB","iteration_count":"@count"},{"field_id":"crc","field_type":"CRC16","data_type":"SI16AB","value":0}]}],"cpuAddr":"1","diCount":8,"doCount":8,"aiCount":4,"rsCount":1} | 1
device_snmp | 0.0.0.0 | UDP | 161 | SNMP | {"snmpVersion":"0","getCommunity":"public","setCommunity":"private"} | 1
device_bacnet | 192.168.1.231 | UDP | 47808 | BACNET | {"deviceInstanceId":"1","broadcast":"192.168.1.255"} | 1
device_opc | 0.0.0.0 | UDP | 9999 | OPC_AGENT | {"registers":"30000"} | 1
device_db | 0.0.0.0 | TCP | 1433 | DB | {"dbdriver":"com.microsoft.sqlserver.jdbc.SQLServerDriver","dbUrl":"jdbc:sqlserver://localhost:1433;databaseName\u003dcts_local","dbUsername":"sa","dbPassword":"midknight1!","dbDatabase":"cts_local"} | 1
device_enip | 0.0.0.0 | TCP | 44818 | ETHERNET_IP | {"cpuSlot":"1"} | 1